## MainAED
OID | OBJECTID_1 | BLDG_Name | Location | BLDG_NUM | FLOOR_NUM | Serial | Brand | Model | Battery_ExpDate | Pads_ExpDate | Cab_Alarm_Func | Flagged | ColDate | Status | X | Y | InspDate | created_date | last_edited_date
1 | 121 | 111 Lampe Drive | 1st floor hallway, near custodial room 123B | 038 | 01 | X04H040472 | Zoll | AED Plus |  |  | Yes | Yes | 2022-12-09 | Active | -78.6677 | 35.7857 |  | 2022-12-09 | 2025-01-30
2 | 70 | 1911 Bldg | Outside Room 111 | 036 |  | X17L978238 | Zoll | AED Plus | 2023-03-01 | 2023-06-17 |  |  |  | Active | -78.6673 | 35.7865 |  | 2022-06-27 | 2025-01-30
8 | 16 | Biltmore Hall (Robertson Wing) | Lower Landing beside Room 1026A | 113 | 01 | X12L577969 | Zoll | AED Plus | 2024-03-01 | 2024-07-20 |  |  |  | Active | -78.6775 | 35.7822 |  | 2022-06-27 | 2025-01-30
9 | 31 | Biltmore Hall (Robertson Wing) | Across From Room 2105B | 113 | 02 | X17C909622 | Zoll | AED Plus | 2028-03-02 | 2024-07-20 | No |  |  | Active | -78.6776 | 35.7823 |  | 2022-06-27 | 2025-01-30
10 | 118 | Brooks Hall | 2nd floor main hallway, near room 217 closet, across from design library (room 209) entrance | 011 | 02 | [6 empty] | Yes | 2022-12-09 | Active | -78.6647 | 35.7845 |  | 2022-12-09 | 2025-01-30
11 | 28 | Broughton Hall | Outside Room 3223 | 051 |  | X17L978038 | Zoll | AED Plus | 2023-03-01 | 2023-05-10 |  |  |  | Active | -78.6704 | 35.7855 |  | 2022-06-27 | 2025-01-30
12 | 5052 | Carmichael Gymnasium | Down from 1605 | 101 | 01 | X05D059043 | Zillow |  | 2029-03-01 | 2025-11-28 | No | No |  | Active | -78.6718 | 35.7828 | 2024-03-07 | 2024-03-07 | 2025-01-30
14 | 91 | Miller Field Athletic Storage - Building C | Miller Field House | 119C |  | X12J573071 | Zoll | AED Plus | 2022-08-01 | 2022-08-01 |  | Yes |  | Active | -78.6723 | 35.7816 |  | 2022-06-27 | 2025-01-30
15 | 98 | Miller Field Athletic Storage - Building C | Miller Field House | 119C |  | X14B651876 | Zoll | AED Plus | 2023-03-01 | 2022-08-01 |  | Yes |  | Active | -78.6723 | 35.7816 |  | 2022-06-27 | 2025-01-30
16 | 21 | Carmichael Gymnasium | 2nd Floor Stairwell Landing | 101 | 02 | X13E601732 | Zoll | AED Plus | 2029-03-02 | 2026-04-17 | No | No |  | Active | -78.6716 | 35.7827 | 2024-03-07 | 2022-06-27 | 2025-01-30
17 | 47 | Carmichael Gymnasium | 3rd Floor Wellness and Rec near 3600A | 101 | 03 | X12J573566 | Zoll | AED Plus | 2032-03-02 | 2026-04-17 | No | No |  | Active | -78.6714 | 35.7827 | 2024-03-07 | 2022-06-27 | 2025-01-30
18 | 22 | Carmichael Gymnasium | Front entrance | 101 | G | X12I565750 | Zoll | AED Plus | 2032-04-01 | 2026-04-17 | No | No |  | Active | -78.6722 | 35.7827 | 2024-03-07 | 2022-06-27 | 2025-01-30
19 | 52 | Carmichael Gymnasium | 50 Meter Pool Deck by Room 1505A | 101 |  | X13D599141 | Zoll | AED Plus | 2022-08-01 | 2022-08-01 |  | Yes |  | Active | -78.6722 | 35.7827 |  | 2022-06-27 | 2025-01-30
20 | 1043 | Carmichael Gymnasium | Next to elevator 2 on second floor | 101 | 02 | X03H019688 | Zoll | AED Plus | 2029-03-01 | 2025-11-28 | No | No | 2023-07-19 | Active | -78.6715 | 35.7832 | 2024-03-07 | 2023-07-19 | 2025-01-30
21 | 1044 | Carmichael Gymnasium | 3rd Floor next to elevators | 101 | 03 | X09H417623 | Zoll | AED Plus | 2029-03-01 | 2025-11-28 | No | No | 2023-07-19 | Active | -78.6716 | 35.7832 | 2024-03-07 | 2023-07-19 | 2025-01-30
22 | 1045 | Carmichael Gymnasium | Fourth Floor Outside of Elevators | 101 | 04 | X08A143410 | Zoll | AED Plus | 2029-03-01 | 2025-11-28 | Yes | No | 2023-07-19 | Active | -78.6714 | 35.7833 | 2024-03-07 | 2023-07-19 | 2025-01-30
23 | 1046 | Carmichael Gymnasium | Fourth Floor Functional Training Room | 101 | 04 | X13D599149 | Zoll | AED Plus | 2032-03-01 | 2026-04-16 | Yes | No | 2023-07-19 | Active | -78.6713 | 35.7833 | 2024-03-07 | 2023-07-19 | 2025-01-30
24 | 1444 | Carmichael Gymnasium | Inside Room 1223A | 101 | 01 | X12J572924 | Zoll | AED Plus | 2032-03-01 | 2026-04-16 | No | No | 2023-07-19 | Active | -78.6721 | 35.7833 | 2024-02-05 | 2023-07-19 | 2025-01-30
25 | 1445 | Carmichael Gymnasium | Room 1211 | 101 | 01 | 010084794600215221X17K969627 | Zoll | AEDPLUS |  | 2026-04-16 | Not Assessed |  | 2023-07-20 | Hidden | -78.672 | 35.7833 |  | 2023-07-20 | 2025-01-30
26 | 1446 | Carmichael Gymnasium | Room 1211 | 101 | 01 | X12J573360 | Zoll | AEDPLUS |  | 2026-04-20 |  |  | 2023-07-20 | Hidden | -78.672 | 35.7833 |  | 2023-07-20 | 2025-01-30
27 | 1447 | Carmichael Gymnasium | Room 1211 | 101 | 01 | X12J573071 | Zoll | AED Plus |  | 2027-07-23 |  | No | 2023-07-20 | Hidden | -78.6721 | 35.7834 |  | 2023-07-20 | 2025-01-30
28 | 1448 | Carmichael Gymnasium | Room 1211 | 101 | 01 | X14B651876 | Zoll | AED Plus |  | 2027-07-23 |  | No | 2023-07-20 | Hidden | -78.6721 | 35.7833 |  | 2023-07-20 | 2025-01-30
29 | 643 | Carmichael Gymnasium | Outside room 1131 | 101 | 01 | X12H561519 | Zoll | AED Plus | 2029-03-01 | 2025-11-28 | No | No |  | Active | -78.6713 | 35.7832 | 2024-03-05 | 2023-07-19 | 2025-01-30
30 | 1449 | Carmichael Gymnasium | Outside of elevator 4 | 101 | 01 | X12J573364 | Zoll | AED Plus | 2032-03-05 | 2026-04-16 | No | No | 2023-07-20 | Active | -78.6728 | 35.7838 | 2024-03-05 | 2023-07-20 | 2025-01-30
31 | 1450 | Carmichael Gymnasium | Outside of elevator 4 on second floor, along track | 101 | 02 | X13E602168 | Zoll | AED Plus | 2032-03-05 | 2026-04-16 | No | No | 2023-07-20 | Active | -78.6728 | 35.7838 | 2024-03-05 | 2023-07-20 | 2025-01-30
32 | 1451 | Carmichael Gymnasium | Outside elevator 4 on third floor | 101 | 03 | X12J573552 | Zoll | AED Plus | 2032-03-05 | 2026-04-16 | No | No | 2023-07-20 | Active | -78.6728 | 35.7838 | 2024-03-05 | 2023-07-20 | 2025-01-30
33 | 1443 | Carmichael Gymnasium | Inside Lifeguards Office | 101 | 01 | X13E602191 | Zoll | AED Plus | 2032-03-07 | 2026-04-16 | No | No | 2023-07-19 | Active | -78.6725 | 35.783 | 2024-03-07 | 2023-07-19 | 2025-01-30
34 | 44 | Case Academic Center | Foyer of Main Entrance from Jeter Bay | 103 | 02 | X17C908109 | Zoll | AED Plus | 2030-03-02 | 2027-01-10 | No | No |  | Active | -78.6695 | 35.783 | 2024-03-19 | 2022-06-27 | 2025-01-30
35 | 85 | Cates Avenue Steam Plant | 2nd Floor Break Room (204) | 086 | 02 | A10F-09770 | Phillips | Heartstart | 2026-02-01 | 2020-06-01 |  |  |  | Active | -78.6745 | 35.7841 | 2024-07-05 | 2022-06-27 | 2025-01-30
36 | 83 | Cox Hall | Cox Hall Room 205 | 055 |  | X18G042991 | Zoll | AED Plus | 2023-03-01 | 2023-09-02 |  |  |  | Active | -78.6709 | 35.786 |  | 2022-06-27 | 2025-01-30
37 | 7452 | D.H. Hill Jr. Library (East Wing) | 3rd floor by elevator #3 outside 3133 | 047 | 03 | X14A648184 | Zoll | AED Plus | 2030-03-31 | 2027-01-09 | No | Yes | 2024-05-02 | Hidden | -78.6695 | 35.7876 | 2024-05-02 | 2024-05-02 | 2025-01-30
38 | 66 | David Clark Labs | 1st Floor - Across from Room 168 | 075 | 01 | A12D-00329 | Phillips | HeartStart | 2023-07-23 | 2023-07-23 |  |  |  | Active | -78.6741 | 35.7874 |  | 2022-06-27 | 2025-01-30
39 | 1 | D.H. Hill Jr. Library (East Wing) | Circulation lobby by North Bookstack Stairs - Behind Book Collection Counter | 047 | 01 | NA041688 | Welch Allyn | AED 10 | 2024-08-01 | 2022-12-05 | No | Yes |  | Hidden | -78.6701 | 35.7878 | 2024-05-02 | 2022-06-27 | 2025-01-30
40 | 6 | D.H. Hill Jr. Library (East Wing) | 1rst floor West Wing beside Room 1302 Hillsborough Street Side | 047 | 01 | NA050318 | Welch Allyn | AED 10 | 2024-08-01 | 2022-12-05 | No | Yes |  | Hidden | -78.6706 | 35.7879 | 2024-05-02 | 2022-06-27 | 2025-01-30
41 | 20 | D.H. Hill Jr. Library (East Wing) | 3rd Floor East Wing Outside Elev #3 Across from Room 3130 | 047 | 03 | X10F455277 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 |  |  |  | Hidden | -78.6699 | 35.7876 |  | 2022-06-27 | 2025-01-30
42 | 23 | D.H. Hill Jr. Library (East Wing) | Ground floor east near elevator 3 - Across from Room G137 | 047 | G | NA042444 | Welch Allyn | AED 10 | 2024-08-01 | 2022-12-05 | No | Yes |  | Hidden | -78.6698 | 35.7875 | 2024-05-02 | 2022-06-27 | 2025-01-30
43 | 39 | D.H. Hill Jr. Library (East Wing) | Ground Floor outside rm G424 | 047 | G | X12E550108 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 | No | No |  | Active | -78.6699 | 35.7873 | 2024-05-02 | 2022-06-27 | 2025-01-30
44 | 76 | D.H. Hill Jr. Library (East Wing) | 6th Floor South Tower Elevator 1&2 Lobby | 047 | 06 | NA050299 | Welch Allyn | AED 10 | 2024-08-01 | 2022-12-05 | No | Yes |  | Hidden | -78.6697 | 35.7876 | 2024-05-02 | 2022-06-27 | 2025-01-30
45 | 95 | Gregg Museum of Art & Design | Across from front desk by elevator | 001 |  | X17L977957 | Zoll | AED Plus | 2028-03-02 | 2023-05-10 | Yes | No |  | Active | -78.6618 | 35.7851 | 2024-05-31 | 2022-06-27 | 2025-01-30
46 | 3852 | Harris Hall | Across Student Services Center | 090 | 02 | A23I-01052 | Phillips | HeartStart | 2029-02-28 | 2025-12-12 | No | No | 2024-02-28 | Active | -78.6744 | 35.7858 | 2024-11-04 | 2024-02-28 | 2025-01-30
47 | 69 | Hillsborough Building | Lobby off Hillsborough Street | 048 | 01 | X12H563730 | Zoll | AED Plus | 2028-03-28 | 2023-03-17 | No | Yes |  | Active | -78.6706 | 35.7885 | 2024-03-07 | 2022-06-27 | 2025-01-30
48 | 56 | Holladay Hall | Ground floor outside break room 8 | 003 | G | X18I056397 | Zoll | AED Plus | 2028-03-02 | 2024-03-16 | Yes | Yes |  | Active | -78.664 | 35.7855 | 2024-03-07 | 2022-06-27 | 2025-01-30
49 | 72 | Holmes Hall | Second Floor Elevator Lobby | 077 | 02 | X17L978242 | Zoll | AED Plus | 2023-06-11 | 2023-07-21 |  |  |  | Active | -78.6739 | 35.7843 |  | 2022-06-27 | 2025-01-30
52 | 119 | Kamphoefner Hall | Ground floor exterior walkway, near burns auditorium (room G20) and allred gallery (room G10) | 011A | G | X04I041432 | Zoll | AED Plus | 2031-03-01 | 2027-06-05 | Yes | No | 2023-07-13 | Active | -78.6655 | 35.7847 | 2024-03-07 | 2022-12-09 | 2025-01-30
53 | 2652 | Kilgore Hall |  | 069 | 01 |  | Zoll | AED Plus | 2032-01-30 | 2026-12-30 |  |  | 2023-10-30 | Active | -78.6728 | 35.7882 | 2023-10-30 | 2023-10-30 | 2025-01-30
54 | 120 | Leazar Hall | 2nd floor hallway, near restrooms (room 212 & 214) and materials lab (room 220) | 018 | 02 | X04F037162 | Zoll | AED Plus | 2028-03-01 | 2027-06-05 | Yes | No | 2022-12-09 | Active | -78.6655 | 35.7854 | 2024-05-31 | 2022-12-09 | 2025-01-30
55 | 97 | Page Hall | 1st Floor across from room 110 | 034 | 01 | X17L977685 | Zoll | AED Plus | 2023-03-01 | 2023-06-03 |  |  |  | Active | -78.667 | 35.786 |  | 2022-06-27 | 2025-01-30
56 | 10 | Park Shops | 2nd Floor top of stairs outside Suite 211 | 033 | 02 | X17C909516 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 |  |  |  | Active | -78.6671 | 35.7857 |  | 2022-06-27 | 2025-01-30
57 | 53 | Patterson Hall | 3rd Floor West Stairwell - DH Hill Side | 046 | 03 | 18D00015709 | HeartSine | HS1 | 2023-04-01 | 2023-04-01 |  |  |  | Active | -78.6687 | 35.7871 |  | 2022-06-27 | 2025-01-30
59 | 81 | Peele Hall | Ground Floor Break Room - Room 110 | 008 | G | X14D671019 | Zoll | AED Plus | 2028-03-31 | 2019-08-01 | Yes | Yes |  | Active | -78.6647 | 35.7858 | 2024-05-14 | 2022-06-27 | 2025-01-30
60 | 24 | Poe Hall | Outside room 640 Psychology Office | 024 | 06 | X11L529829 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 | Yes |  |  | Active | -78.6664 | 35.7858 |  | 2022-06-27 | 2025-01-30
61 | 51 | Poe Hall | Outside room 400 Media Library | 024 | 04 | X11L529791 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 | Yes |  |  | Active | -78.6662 | 35.7857 |  | 2022-06-27 | 2025-01-30
62 | 62 | Poe Hall | Outside room 208 Deans Office | 024 | 02 | X11L529788 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 | Yes |  |  | Active | -78.6664 | 35.7858 |  | 2022-06-27 | 2025-01-30
63 | 58 | Polk Hall | Outside room 121 | 050 |  | X161862383 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 |  |  |  | Active | -78.6701 | 35.7862 |  | 2022-06-27 | 2025-01-30
70 | 33 | Pullen Hall | Inside Suite 1104 - beside room 1115 | 090A |  | X11L529830 | Zoll | AED Plus | 2027-01-01 | 2027-01-01 |  |  |  | Active | -78.6749 | 35.7858 |  | 2022-06-27 | 2025-01-30
71 | 30 | Reynolds Coliseum | Outside room G07 | 100 |  | D00000629519 | Cardiac Science | Power Heart AED G5 | 2020-11-28 | 2020-11-28 |  |  |  | Active | -78.6701 | 35.7834 |  | 2022-06-27 | 2025-01-30
72 | 32 | Reynolds Coliseum | Inside court area by SE stairs | 100 |  | B16A-04017 | Phillips | Heartstart | 2027-12-01 | 2024-10-08 | No |  |  | Active | -78.67 | 35.7834 | 2024-03-25 | 2022-06-27 | 2025-01-30
73 | 123 | Reynolds Coliseum | Inside room 101 | 100 |  | X10F459455 | Zoll | AED Plus | 2020-03-01 | 2023-10-21 |  | Yes |  | Active | -78.6699 | 35.784 |  | 2022-06-27 | 2025-01-30
74 | 5853 | Reynolds Coliseum | Navy ROTC Go-bag 1 | 100 | 01 | A12B-06234 | Phillips | Heartstart |  | 2025-06-14 | Not Assessed |  |  |  | -78.6697 | 35.7837 |  | 2024-03-25 | 2025-01-30
75 | 5854 | Reynolds Coliseum | Navy ROTC Go-bag 2 | 100 | 01 | A15H-02626 | Phillips | Heartstart | 2025-05-31 |  | Not Assessed |  |  |  | -78.6697 | 35.7836 | 2024-03-25 | 2024-03-25 | 2025-01-30
76 | 42 | Ricks Hall Addition | Suite 130 - Room 133 | 045A |  | X18G043113 | Zoll | AED Plus | 2023-03-01 | 2023-09-23 |  |  |  | Active | -78.6674 | 35.7872 |  | 2022-06-27 | 2025-01-30
77 | 11 | Schaub Food Science Building | 1st Floor Outside Room 100 | 120 | 01 | 010088483804912321A15F-14331 | Phillips | Heart Start HS1 | 2023-11-22 | 2025-11-04 | Yes |  |  | Active | -78.6781 | 35.7837 |  | 2022-06-27 | 2025-01-30
78 | 243 | Scott Hall | Outside 203 | 068 | 02 | X18G043011 | Zoll | AED Plus |  |  | No |  | 2023-07-13 | Active | -78.6714 | 35.7881 |  | 2023-07-13 | 2025-01-30
79 | 60 | Campus Health Center | 2nd fl outside Room 2010 | 063 | 02 | X11C489472 | Zoll | AED Plus | 2030-03-28 | 2026-07-10 | Yes | No |  | Active | -78.6754 | 35.7848 | 2024-04-10 | 2022-06-27 | 2025-01-30
80 | 92 | Campus Health Center | Treatment clinic on crash cart | 063 | 01 | X11C489445 | Zoll | AED Plus | 2030-03-28 | 2026-07-10 | Not Assessed | No |  | Active | -78.6752 | 35.7847 | 2024-04-10 | 2022-06-27 | 2025-01-30
83 | 50 | Talley Student Union | 3rd floor by room 3254 | 102 | 03 | X14J710741 | Zoll | AED Plus | 2024-05-09 | 2024-05-09 |  |  |  | Active | -78.6708 | 35.784 |  | 2022-06-27 | 2025-01-30
84 | 63 | Talley Student Union | Atrium by Information Desk - Outside of Room 2127 | 102 |  | X12J573108 | Zoll | AED Plus | 2024-05-09 | 2024-05-09 |  |  |  | Active | -78.6708 | 35.7837 |  | 2022-06-27 | 2025-01-30
85 | 3 | Frank Thompson Hall | Craft Center | 105 | 01 | X17L977955 | Zoll | AED Plus | 2027-01-01 | 2027-01-09 | Yes |  |  | Active | -78.667 | 35.7827 |  | 2022-06-27 | 2025-01-30
86 | 89 | Frank Thompson Hall | Beside Consession Stand - Right hallway | 105 | 02 | X12F556395 | Zoll | AED Plus | 2030-03-02 | 2027-01-10 | Yes | No |  | Active | -78.667 | 35.7829 | 2024-03-19 | 2022-06-27 | 2025-01-30
87 | 86 | D. S. Weaver Labs | Outside Room 114 | 117 | 01 | X17C909940 | Zoll | AED Plus | 2030-03-02 | 2027-01-10 | No |  |  | Active | -78.6792 | 35.7832 | 2024-03-14 | 2022-06-27 | 2025-01-30
88 | 6652 | Weisiger-Brown Athletic Facility | Next to sports medicine | 111 | 02 | D00000059697 | Cardiac science | Powerheart G5 | 2027-07-10 | 2026-04-26 | No | No | 2024-04-10 |  | -78.6709 | 35.7807 | 2024-04-10 | 2024-04-10 | 2025-01-30
89 | 6653 | Weisiger-Brown Athletic Facility | By 1206 | 111 | G | D00000196280 | Cardiac science | Powerheart G5 | 2027-10-10 | 2025-07-28 | No | No | 2024-04-10 |  | -78.6705 | 35.7808 | 2024-04-10 | 2024-04-10 | 2025-01-30
90 | 6654 | Weisiger-Brown Athletic Facility | By 1201 | 111 | G | 4190433 | Cardiac science | Powerheart G3 | 2027-04-10 | 2024-08-10 | No |  | 2024-04-10 |  | -78.6705 | 35.7808 | 2024-04-10 | 2024-04-10 | 2025-01-30
92 | 4 | Williams Hall |  | 062 | 02 | 5134490 | Cardiac Science | Powerheart AED G3 | 2027-10-31 | 2024-12-31 | No | Yes | 2024-05-14 | Active | -78.6719 | 35.7868 | 2024-05-14 | 2022-06-27 | 2025-01-30
93 | 5 | Williams Hall |  | 062 | 01 | A19C-03826 | Phillips | Heartstart | 2026-05-31 | 2021-05-31 | No | Yes | 2024-05-14 | Active | -78.6719 | 35.7868 | 2024-05-14 | 2022-06-27 | 2025-01-30
94 | 45 | Williams Hall |  | 062 | 03 | X14H702045 | Zoll | AED Plus | 2027-09-01 | 1970-01-01 | No | No |  | Active | -78.6718 | 35.7868 | 2024-05-14 | 2022-06-27 | 2025-01-30
95 | 61 | Williams Hall |  | 062 | 04 | A19A-12587 | Phillips | Heartstart | 2027-12-31 | 2021-06-30 | No | Yes | 2024-05-14 | Active | -78.6717 | 35.7868 | 2024-05-14 | 2022-06-27 | 2025-01-30
96 | 7 | Withers Hall | 3rd floor lobby near elevator | 043 | 03 | X17L978093 | Zoll | AED Plus | 2023-03-01 | 2023-06-01 |  |  |  | Active | -78.6679 | 35.7863 |  | 2022-06-27 | 2025-01-30
97 | 100 | Caldwell Hall | Caldwell Hall - Outside Room 106 | 025 |  | X17L977845 | Zoll | AED Plus | 2023-03-01 | 2023-06-17 |  |  |  | Active | -78.6658 | 35.7868 |  | 2022-06-27 | 2025-01-30
98 | 41 | Witherspoon Student Center | Outside hall by room 118 | 081 |  | X11C489529 | Zoll | AED Plus | 2030-03-31 | 2026-12-26 | No | Yes |  | Active | -78.6744 | 35.7853 | 2024-04-12 | 2022-06-27 | 2025-01-30
99 | 82 | Yarbrough Central Utility Plant (YCUP) | Inside Room 111 or on a truck | 029 |  | 400014753 | Defib-Tech | Lifeline View | 2026-02-01 | 2021-07-01 |  | Yes |  | Active | -78.6675 | 35.7844 |  | 2022-06-27 | 2025-01-30
100 | 55 | Yarbrough Central Utility Plant (YCUP) | 2nd Floor Control Room | 029 | 02 | A10F-09197 | Phillips | Heartstart | 2022-07-01 | 2020-07-01 | No |  |  | Active | -78.6675 | 35.7844 | 2024-03-25 | 2022-06-27 | 2025-01-30
104 | 64 | Carmichael Gymnasium |  | 101 |  | X13D599149 | [5 empty] | Yes |  | Active | -78.6716 | 35.7827 |  | 2022-06-27 | 2025-01-30
105 | 1852 | Jordan Hall | In lobby near elevators | 058 | 01 | 010084794600215221X19H195347 | Zoll | AED Plus | 2028-03-01 | 2024-11-10 | No | No |  | Active | -78.6765 | 35.7818 |  | 2023-09-13 | 2025-01-30